Land Use Planning

Building Code Ordinance

Table of Contents

Page(s)

1	Emergency Authority

2	General Authority and Provisions

3	Fee Schedule

4	West Virginia Code 8-12-13 Building Regulation

5-6	West Virginia Code 29-3-5b Promulgation of Rules

7-19	State Rules Title 87 Series 4 State Building Code

By authority of the Code of West Virginia, Chapter 8, Article 11, Section 4 the Town Council of Hedgesville intends to enact this ordinance by affirmative vote of two thirds of the elected members at one regular meeting of the Council in the case of the pressing public emergency that no other ordinance is in force necessary for the protection of public safety. The provisions of the Code of West Virginia, Chapter 8, Article 12, Section 13 voided any previously adopted building code effective April 1, 2004, and since the Hedgesville Building Permit Ordinance had been previously adopted in 1981 and amended in 1996 has always been the intent of the Town of Hedgesville to provide for the safeguarding of life and property provided by adopting effective building codes.

Passed through first reading this ______ day of ________________, 2005

____________________________

/s/	Mayor

ATTEST:  ____________________________

/s/  	Recorder

General Authority and Provisions

GENERAL AUTHORITY

By authority of the Code of West Virginia, Chapter 8, Article 12, Section 13 to enforce minimum procedures and otherwise implementing the provisions of the State Building Code, this ordinance shall be known as “The Hedgesville Building Code.”

GENERAL PROVISIONS

In accordance with the provisions of Chapter 29, Article 3, Section 5b, the Town Council of Hedgesville does hereby adopt the State Building Code as set forth in and as adopted on April 1, 2003, by the State of West Virginia in Title 87, Legislative Rule Series 4, State Fire Commission as attached hereto and made a part of this Ordinance.

This ordinance replaces “An Ordinance Pertaining to Buildings, Building Regulation, Building Permits and Building Improvements and Repairs” and “An Ordinance Establishing a Schedule of Fees and Payment Requirements in Conformance with Section 703-Hedgesville Zoning Ordinance and Other Codes Related to Development within the Corporate Limits” in their entirety.

Whereas the Town of Hedgesville is located in Berkeley County, has a limited number of citizens meeting the qualifications required for Board of Code Appeals members, it is the intention of the Town of Hedgesville to refer code appeals to the Berkeley County Board of Code Appeals.

Fee Schedule

ZONING PERMIT FEES

1.  Outbuildings, garages, barns, unfinished basement		$20+.10/sq. ft.

2.  In-ground/above ground pools, porches, decks					$20+.10/sq. ft.

3.  Single family residential, additions, townhouses, finished basement		$20+.10/sq. ft.

4.  Duplex										$20+.10/sq. ft.

5.  Multi-family									$30+.15/sq. ft.

6.  Commercial/Industrial (including church)						$50+.25/sq. ft.

7.  Signs		$20

8.  Chimney											$20

9.  Storage building, 150 sq. ft. or less (cannot be connected to any utilities)		$10

10. Fences over 6 ft. in height or retaining wall if over 4 ft. in height			$20

11. Demolition										$20 (Structure to be demolished due to damage caused by acts of God or fire shall be exempt from fee)

12. Rebuilding roof with new framing							$20

13. Installing a door or window								$20

(No permit required if changing a window of the same size unless in sleeping room;

new window must meet egress requirements)

14. Mechanical inspections, each								$20

PLANNING COMMISSION FEES

1.  Site Plan Review on parcels containing less than one acre				$50

2.  Site Plan Review on parcels containing more than one acre				$200

3.  Subdivision Plat Approval									$250

4.  Text Amendment										$200

5.  Map Amendment										$100

BOARD OF ZONING APPEALS

Petition										$100

CODE APPEALS BOARD

Decision Appeal									$100

ALL FEES/COSTS MUST BE PAID TO THE TOWN OF HEDGESVILLE PRIOR TO APPLICABLE  MEETINGS

In addition to the above fees, any person, firm, or corporation who shall commence work governed by this ordinance without first obtaining the required permit shall pay double the cost of such permit if the permit is obtained within forty-eight (48) hours of notification of the violation.  If the permit is not obtained within a forty-eight (48) hour period, the Building Official will serve written notification of the violation to the appropriate party and the fees shall be tripled.  The above fees shall be in addition to any fines levied by the courts if the violator is prosecuted.

§8-12-13. Building regulation; general and special codes; state building code.
(a) The governing body of every municipality shall have plenary power and authority by ordinance or a code of ordinances to:
(1) Regulate the erection, construction, repair or alteration of structures of every kind within the corporate limits of the municipality, prohibit, within specified territorial limits, the erection, construction, repair or alteration of structures of wood or other combustible material, and regulate excavations upon private property;
(2) Regulate electric wiring by prescribing minimum specifications to be followed in the installation, alteration or repair thereof; and
(3) Regulate plumbing by prescribing the minimum specifications to be followed in the installation, alteration or repair of plumbing, including equipment, water and sewer pipe, traps, drains, cesspools and septic tanks.
(b) Notwithstanding the provisions of subsection (a), all existing municipal building codes are void one year after the promulgation of a state building code by the state fire commission as provided in chapter twenty-nine, article three, section five-b of this code.
Upon the voidance of the municipality's existing building code, if the municipality votes to adopt a building code, it must be the state building code promulgated pursuant to chapter twenty-nine, article three, section five-b of this code.
(c) The governing body of every municipality shall have plenary power and authority by ordinance or a code of ordinances to adopt such state building code promulgated by the state fire commission.

§29-3-5b. Promulgation of rules and statewide building code.
(a) The state fire commission shall propose rules for legislative approval in accordance with the provisions of article three, chapter twenty-nine-a of this code to safeguard life and property and to ensure the quality of construction of all structures erected or renovated throughout this state through the adoption of a state building code. The rules shall be in accordance with standard safe practices so embodied in widely recognized standards of good practice for building construction and all aspects related thereto and have force and effect in those counties and municipalities adopting the state building code: Provided, That each county or municipality may adopt the code to the extent that it is only prospective and not retroactive in its application.
(b) The state fire commission has authority to propose rules for legislative approval in accordance with the provisions of article three, chapter twenty-nine-a of this code, regarding building construction, renovation and all other aspects as related to the construction and mechanical operations of a structure. The rules shall be known as the "State Building Code."
(c) The state fire commission has authority to propose rules for legislative approval, in accordance with the provisions of article three, chapter twenty-nine-a, establishing state standards and fee schedules for the licensing, registration, certification, regulation and continuing education of persons which will conduct inspections relating to the state building code, which include, but are not limited to, building code officials, inspectors, plans examiners and home inspectors.
(d) The state fire commission has authority to establish advisory boards as it deems appropriate to encourage representative participation in subsequent rulemaking from groups or individuals with an interest in any aspect of the state building code or related construction or renovation practices.
(e) For the purpose of this section, the term "building code" is intended to include all aspects of safe building construction and mechanical operations and all safety aspects related thereto. Whenever any other state law, county or municipal ordinance or regulation of any agency thereof is more stringent or imposes a higher standard than is required by the state building code, the provisions of the state law, county or municipal ordinance or regulation of any agency thereof governs if they are not inconsistent with the laws of West Virginia and are not contrary to recognized standards and good engineering practices. In any question, the decision of the state fire commission determines the relative priority of any such state law, county or municipal ordinance or regulation of any agency thereof and determines compliance with state building code by officials of the state, counties, municipalities and political subdivisions of the state.
(f) Enforcement of the provisions of the state building code is the responsibility of the respective local jurisdiction. Also, any county or municipality may enter into an agreement with any other county or municipality to provide inspection and enforcement services: Provided, That any county or municipality may adopt the state building code with or without adopting the BOCA national property maintenance code.
(g) After the state fire commission has promulgated rules as provided in this section, each county or municipality intending to adopt the state building code shall notify the state fire commission of its intent.
(h) The state fire commission may conduct public meetings in each county or municipality adopting the state building code to explain the provisions of the rules.

(i) The provisions of the state building code relating to the construction, repair, alteration, restoration and movement of structures are not mandatory for existing buildings and structures identified and classified by the state register of historic places under the provisions of section eight, article one of this chapter or the national register of historic places, pursuant to Title XVI, section 470a of the United States Code. Prior to renovations regarding the application of the state building code, in relation to historical preservation of structures identified as such, the authority having jurisdiction shall consult with the division of culture and history, state historic preservation office. The final decision is vested in the state fire commission. Additions constructed on a historic building are not excluded from complying with the state building code.

TITLE 87

LEGISLATIVE RULE

STATE FIRE COMMISSION

SERIES 4

STATE BUILDING CODE

§87-4-1.  General.

1.1.  Scope.  --   This rule establishes the standards considered necessary by the State Fire Commission for the safeguarding of life and property and to ensure the quality of construction of all structures erected or renovated throughout this state.

1.2.  Authority.  --  W. Va. Code §29-3-5b.

1.3.  Filing Date.  --  March 19, 2003.

1.4.  Effective Date.  --  April 1, 2003.

1.5.  Incorporation of other Documents:  -- This rule does not include a reprinting of all the requirements imposed by statute or by the incorporation of various nationally recognized standards and codes cited in Subsection 4.1 of this rule.  For ascertaining these additional standards and requirements, it is necessary to make reference to the other documents.

§87-4-2.  Definitions..

2.1.  “ANSI” means “American National Standards Institute,” 11 West 42nd St., New York, NY  10036.

2.2.  “ASTM” means “American Society of Testing and Materials.”

2.3.  “BOCA” - refers to the “Building Officials & Code Administrators International”, 4051 West Flossmoor Road, Country Club Hills, IL  60478-5795.

2.4.  “Building code” - includes all aspects of safe building construction and mechanical operations and all safety aspects related to building construction and mechanical operations.

2.5.  “CABO” - refers to the “Council of American Building Officials”, 5203 Leesburg Pike, Suite 708, Falls Church, Virginia 22041.

2.6.  “Fire Commission” - means the thirteen (13) appointed members of the West Virginia State Fire Commission.

2.7.  “Fire marshal” - means the West Virginia State Fire Marshal and/or his or her designated representatives.

2.8.  “Local jurisdiction” - means municipal or county level government.

2.9.  “ICC” or “International” means “International Code Council”, 5203 Leesburg Pike, Suite 708, Falls Church, Virginia 22041-3401.

2.10. “NFPA” means “National Fire Protection Association”, 1 Batterymarch Park,

P. O. Box 9101, Quincy, MA  02269-9101.

2.11.  “State Building Code” - means the entire contents of this rule and the referenced national codes.

§87-4-3.  Conflicts.

3.1.  Whenever there is a conflict between the State Fire Code and the State Building Code, the State Fire Code takes precedence.

3.2.  Whenever there is a conflict between the International Plumbing Code section of the State Building Code and the rules of the West Virginia State Department of Health and Human Resources, the rules of the Department of Health and Human Resources take precedence.

3.3.  Whenever there is a conflict between the State Building Code and statutory laws of the State of West Virginia, the West Virginia Code takes precedence.

§87-4-4.  National Standards and Codes.

4.1.  The standards and requirements as set out and as published by the International Code Council, and American Standards Institute, as listed below, have the same force and effect as if set out verbatim in this rule, Except that any and all references to ICC Electrical Code mean NFPA 70, National Electric Code/1999.

4.1.1.  The International Building Code, First Edition, 2000, with the following exceptions:

4.1.1.A.  Provided; that the section entitled “Fire Prevention” and identified as Section 101.4.6 is deleted and not considered to be a part of this rule.

4.1.1.B.  Further provided that the section entitled “Duties and Powers of  Building Official” and identified as Section 104.1 General is modified to read as  follows:

“The building official shall enforce the provisions of this code. The building official may render interpretations of this code and adopt policies and procedures in order to clarify the application of its provisions. The interpretations, policies and procedures shall be in compliance with the intent and purpose of this code.  The policies and procedures shall not have the effect of waiving requirements specifically provided for in this code.”

4.1.1.C.  Further provided that the entire section entitled “Board of Appeals” and identified as Section 112 is deleted and replaced with the following:

4.1.1.C.1.  Appeals Board:  The current State Building Code establishes stringent qualifications for appeals board members.  The 1996 BOCA National Building Code, Section 121.2.1 reads “The board of appeals shall consist of five individuals, one from each of the following professions or disciplines, with three forming a quorum at any appeal hearing.

A registered design professional who is a registered architect, or a builder or superintendent of building construction with at least ten years experience, five of which shall have been in responsible charge of work;

A registered design professional with structural engineering or architectural experience;

A registered design professional with mechanical or plumbing engineering experience; or a mechanical or plumbing contractor with at least ten years experience, five of which shall have been in responsible charge of work;

A registered design professional with electrical engineering experience; or an electrical contractor with at least ten years experience, five of which shall have been in responsible charge of work; and

A registered design professional with fire protection engineering experience; or a fire protection contractor with at least ten years experience, five of which shall have been in responsible charge of work.

4.1.1.C.2.  Time of Appeal.  The Appeals Board shall render a decision within 30 days of receipt of the appeal.

4.1.2.  The International Plumbing Code, First Edition, 2000

4.1.3.  The International Mechanical Code, First Edition, 2000

4.1.4.  International Fuel Gas Code, First Edition, 2000, with the following exception:

Section 404.9 Underground piping systems shall be installed a minimum depth of 12 inches (305 mm) below grade.  If the minimum depth cannot be maintained, the piping system shall be installed in conduit or shielded in an approved manner.

4.1.5.  The International Property Maintenance Code, First Edition, 2000. This Code may be rejected at the option of the local jurisdiction.

4.1.6.  The International Energy Conservation Code, First Edition, 2000.

4.1.7.  International Residential Code, First Edition, 2000, with the following exceptions:

Section G2414.9 Underground piping systems shall be installed a minimum depth of 12 inches (305 mm) below grade.  If the minimum depth cannot be maintained, the piping system shall be installed in conduit or shielded in an approved manner.

Section R303.4.1 Light Activation –  The control for activation of the required interior stairway lighting shall be accessible at the top and bottom of each stairway without traversing any steps.  The illumination of exterior stairways shall be controlled from inside the dwelling unit.  Exceptions: 1.  Lights that are continuously illuminated or automatically controlled. 2.  Interior stairways consisting of less than three steps.

Section R312.1.1.  Landings at doors – Where a stairway of two or fewer risers is located on the exterior side of a door, other than the required exit door, a landing is not required for the exterior side of the door.

Section R314.2.  Stair Geometry – CABO One & Two Family Dwelling Code/1995 dimensions; maximum riser height of eight and one quarter (8 ¼) inches, minimum tread depth on nine (9) inches.

Section R315.1. Handrails – Handrails shall be provided on at least one side of stairways consisting of three or more risers.  Handrails shall have a minimum height of 34 inches (864 mm) and a maximum height of 38 inches (96 mm) measured vertically from the nosing of the treads.  All required handrails shall be continuous the full length of the stairs from a point directly above the top riser to a point directly above the lowest riser of the stairway.  The ends of the handrail shall be returned into a wall or shall terminate in newel posts or safety terminals.  A minimum clear space of 1 ½ inches (38 mm) shall be provided between the wall and the handrail.

Section R403.1.7.1:  Building Clearances From Ascending Scopes is not applicable to this rule.

Section R403.1.7.1:  Footings Setbacks From Descending Slope Surfaces is not applicable to this rule.

Section R403.3.  Frost Protected Shallow Foundations – Frost protected shallow foundations shall not be used for unheated spaces such as porches, utility rooms, garages and carports, and shall not be attached to basements or crawl spaces that are not maintained at a minimum monthly mean temperature of 64 degrees F (18C).

NEW SECTIONS:  R403.3.1.1 Foundations adjoining frost protected shallow foundations.  Foundations that adjoin frost protected shallow foundations shall be protected from frost in accordance with Section R403.1.4.

R403.3.1.2. Attachment to unheated garage.  Vertical wall insulation and horizontal insulation of frost protected shallow foundations that adjoin a garage that does not have a monthly mean temperature maintained at a minimum of 64 degrees F (18 C), shall be in accordance with Figure R403.3(3) and Table R403.3.  Vertical wall insulation shall extend between the frost protected shallow foundation and the adjoining slab foundation.  Required horizontal insulation shall be continuous under the adjoining slab foundation and through any foundation walls adjoining the frost protected shallow foundation.

R403.3.1.3.  Attachment to heated structure.  Where a frost protected shallow foundation abuts a structure that has a monthly mean temperature maintained at a minimum of 64 degrees F (18 C), horizontal insulation and vertical wall insulation shall not be required between the frost protected shallow foundation abuts the heated structure, the horizontal insulation and vertical wall insulation shall extend along the adjoining foundation in accordance with Figure R 403.3(4) a distance of not less than Dimension A in Table R403.3.,

Exception:  Where the frost protected shallow foundation abuts the heated structure to form an inside corner, insulation extending along the adjoining foundation is not required.

FIGURE R403.3(3)

INSULATION PLACEMENT FOR FROST-PROTECTED FOOTINGS ADJACENT TO UNHEATED GARAGE

R5502.3.3.  Floor cantilevers.  NEW SECTION: Floor cantilever spans shall not exceed the normal depth of the wood floor joist.  Floor cantilevers constructed in accordance with Table R502.3.3 shall be permitted when supporting a light-frame bearing wall and roof only.  The ratio of backspan to cantilever span shall be at least 3 to 1.

Table R502.3.3 NEW TABLE (attached)

Chapter 11: Entire Chapter

Part IV – Energy Conservation

Chapter 11

Energy Efficiency

Section N1101

N1101.1 Performance Objective   To provide cost-effective, energy-related requirements for design and construction of the building thermal envelope and heating-ventilating-air conditioning (HVAC) systems for one- and two-family dwellings.

N1101.2 Building Thermal Envelope   The minimum required installed R-value or maximum required U-value for all elements in the building thermal envelope (fenestration, roof/ceiling, opaque wall, floor, slab edge, crawl space wall, and basement wall) shall be determined by Table N1101, based on the building type and the climate zone where the building is located.  Alternative compliance based on heat loss/gain calculations or systems analysis shall comply with Section N1101.

TABLE N1101

PRESCRIPTIVE BUILDING ENVELOPE REQUIREMENTS

| BUILDING LOCATION | MAXIMUM U-VALUE |  | MINIMUM INSULATION |
| --- | --- | --- | --- |
| ZONE | HDD | FENESTRATION | ROOF/ CEILING | FRAME WALL S3 | MASS WALLS | FLOOR OVER OUTDOOR AIR OR UNCONDITIONED SPACE | SLAB EDGE WIDTH/ DEPTH | CRAWL SPACE WALL | BASEMENTWALL |
| 1 | 0-1,499 | ANY | R-19 | R-11 | R-4 | R-11 | R-0 | R-0 | R-0 |
| 2 | 1,500 -2,999 | 0.90 | R-22 | R-13 | R-5 | R-13 | R-0 | R-4 | R-0 |
| 3 | 3,000- 3,999 | 0.75 | R-26 | R-13 | R-6 | R-13 | R-4, 2 FT | R-5 | R-0 |
| 4 | 4,000– 4,999 | 0.65 | R-26 | R-13 | R-7 | R-13 | R-4 2 FT | R-8 | R-4 |
| 5 | 5,000- 6,999 | 0.55 | R-30 | R-13 | R-8 | R-19 | R-4, 2 FT | R-8 | R-4 |
| 6 | 7,000- 8,999 | 0.45 | R-30 | R-13 | R-8 | R-19 | R-5, 2 FT. | R-8 | R-8 |
| 7 | 9,000- 12,999 | 0.40 | R-38 | R-19 | R-14 | R-19 | R-8, 4 FT. | R-10 | R-8 |

NOTES:

1.  Building envelopes must also meet the air infiltration requirements of Section N1101.

2.  Insulation materials shall be installed in accordance with the manufacturers instructions.

3.  The sum of the R-values of cavity insulation and sheathing shall be used to determine the installed R-value.

4.  For slabs that incorporate heating ducts or pipes in climates above 1,000 HDD, add R-2 to the table values.

5.  The required R-value shall extend down to design frost depth in Zones 4 and 5, and down to the basement floor in zones 6 and 7.

N1101.3 Floors

N1101.3.1  Floors Over Outdoor Air or Unconditioned Areas – Floors over outdoor air or unconditioned areas shall meet the minimum R-value for Floor Over Outdoor Air or Unconditioned Space in Table N1101, based on the climate zone where the building is located.

N1101.3.2 Slabs-on-Ground – Slabs-on-ground, or slabs 12 inches or less below finished grade, shall meet the minimum R-value and depth/width dimension for Slab Edge in Table N1101, based on the climate zone where the building is located.  The required R-value shall be applied to the exterior or interior of the foundation wall.  Exterior insulation shall extend downward from the top of the slab and/or horizontally outward until the distance indicated in Table N1101 is reached.  Interior insulation shall extend from the top of the slab downward and/or horizontally inward until the distance indicated in Table N1101 is reached.  All horizontal insulation extending outward from the slab shall be covered by at least 10 inches of soil.  The top edge of insulation installed between the exterior wall and the interior slab shall be permitted to be cut at a 45° angle to allow the concrete surface to extend to the wall.  Slab edge insulation shall not be required in areas of “very heavy” termite infestation probability, in accordance with the Termite infestation Probability Map in Appendix A.

N1101.4  WALLS

N1101.4.1 Wall Insulation – Opaque walls and band joists exposed to outside air or to unconditioned space shall meet the minimum R-value for Frame Wall or Mass Wall in Table N1101, based on the wall type and the climate zone where the building is located. For Frame walls, the sum of the R-values of cavity insulation and insulated sheathing shall be used to determine the installed R-value.  Walls exposed to unconditioned space shall have an R-value of R-13 when the minimum required R-value for the wall type in Table N1101exceeds R-13.

N1101.4.2  Wood Frame Walls – Where insulated sheathing is used on wood frame walls in areas not otherwise required to have structural sheathing, the entire opaque wall shall be considered to be covered with the insulated sheathing for purposes of determining compliance with the minimum R-value for Frame Wall in Table N1101.

N1101.4.3  Steel Frame Walls – When steel framing is used, insulated sheathing with an R-value not less than R-2.5 in Zones 3 and 4 (3,000 – 4,999 HDD), R-5 in Zone 5 (5,000 – 6,999 HDD) and R-10 in Zones 6 and 7 (7,000 – 12,999 HDD) shall be installed in addition to the minimum required R-value for Frame Wall in Table N1101.

N1101.4.4  Mass Walls – Masonry or concrete walls having a mass greater than or equal to 30 pounds per cubic foot (pcf), solid wall walls having a mass greater than or equal to 20 pcf, and any other walls having a heat capacity greater than or equal to 6 Btu/ftY 2° shall be considered mass walls.  Mass walls with exterior insulation or mass walls with integral insulation (insulation and mass mixed, such as log walls) shall be permitted to meet the Mass Wall criteria in Table N1101 based on the building type and the climate zone where the building is located.  The R-value of mass walls with integral insulation shall be based on consideration of all elements of the wall assembly.  Other mass walls shall meet the frame wall criteria for the building type and the climate zone where the building is located, based on the sum of the R-values of interior and exterior insulation.

N1101.4.5 Crawl Space Walls – All walls enclosing crawl spaces where the floor above the crawl space is not insulated in accordance with Table N1101 shall meet the minimum R-value for Crawl Space Wall in Table N1101, based on the climate zone where the building is located.  The required R-value shall be applied to the inside or outside of the crawl space wall.  The insulation shall extend downward from the sill plate to the level of the inside ground surface.

N1101.4.6  Basement Walls – All basement walls enclosing conditioned space shall meet the minimum R-value for Basement Wall in Table N1101, based on the climate zone where the building is located.  The required R-value shall be applied on the inside or outside of the basement wall from the sill plate down to the design frost depth in Climate Zones 4 and 5, and to the basement floor in Zones 6 and 7.  Buildings having basement walls with a maximum average exposure not greater than 12 inches above the adjacent grade, and having high efficiency equipment meeting the requirements specified in Table N1101.4.6 based on the climate zone where the building is located, are not required to meet the minimum R-value for Basement Wall in Table N1101.

TABLE N1101.4.6

EQUIPMENT TRADE-OFF FOR BASEMENT WALL INSULATION

| BUILDING LOCATION | GAS FURNACE WITH CENTRAL AIR CONDITIONING | AIR SOURCE HEAT PUMP |
| --- | --- | --- |
| Zone | HDD | Minimum AFUE | Minimum HSPF |
| 1-3 | 0-3,999 | --- | --- |
| 4-5 | 4,000 – 6,999 | 88 | 7.8 |
| 6-7 | 7,000 – 12,999 | 90 | 8.0 |

N1101.4.5  Masonry Veneer – When insulation is placed on the exterior of a slab edge, crawl space wall, or basement wall supporting masonry veneer, the horizontal surface supporting the veneer shall not be required to be insulated.

N1101.4.6  Protection of Foundation Insulation – Exposed insulating materials applied to the exterior of foundation walls shall be protected to prevent degradation of thermal performance.  The protection shall extend at least 6 inches below finished grade.  Plastic foam insulation used below grade shall comply with ASTM C578.

N1101.5   FENESTRATION

N1101.5.1  Labeling – The U-value of fenestration products (windows and glazed doors) shall be indicated on a label affixed to these products by the manufacturer or, where such values are not indicated, the U-value shall be determined in accordance with Table N1101.5.1.TABLE N1101.5.1

ASSUMED U-VALUE FOR WINDOWS AND GLAZED DOORS

| FRAME MATERIAL AND PRODUCT TYPE | SINGLE GLAZED | DOUBLE GLAZED |
| --- | --- | --- |
| Metal Without Thermal Break | 1.13 | 0.70 |
| Metal with Thermal Break | 1.07 | 0.63 |
| Reinforced Vinyl/Metal-Clad Wood/ Wood/Vinyl Fiberglass | 0.90 | 0.55 |

N1101.5.2  Windows – For elements within the building thermal envelope, up to 6 square feet of glazed areas is exempt from the maximum required U-value in Table N1101.5.1

N1101.5.3  Skylights – Minimum skylight requirements will be as follows:

Zone 1 (0-1, 499 HDD):  Any skylight is permitted.

Zones 2  3 (1,500 – 3,999 HDD):  Any double glazed skylight is permitted; and

Zones 4 and above (4,000 HDD and above):  Any double glazed skylight with a wood, vinyl or fiberglass frame.  Metal clad frames will be permitted.

N1101.5.4  Opaque Doors – Opaque doors shall have a maximum U-value of 0.39 or minimum R-value of 2.5.  When the U-value of the door is not provided by the manufacturer, it shall be determined in accordance with Table N1101.5.1.  One opaque door per dwelling unit shall be permitted to be exempt from this U-value requirement.

| DOOR CONSTRUCTION | WITH FOAM CORE | WITHOUT FOAM CORE |
| --- | --- | --- |
| Steel Doors (1 ¾ inches thick) | 0.35 | 0.60 |
| Wood Doors (1 ¾ inches thick) | Without Storm Door | With Storm Door |
| Panel Hollowcore flush Solid core flush | 0.54 0.46 0.40 | 0.36 0.32 0.26 |

N1101.6  ROOFS AND CEILINGS  Roof/ceiling assemblies, including ceilings below unconditioned attics and cathedral ceilings, shall meet the minimum R-value for Roof/Ceiling in Table N1101, based on the climate zone where the building is located.  Insulation can be compressed or reduced at eaves to accommodate roof framing or ventilation.

Exception:  R-30 shall be required for cathedral ceilings whenever the required R-value for Roof/Ceiling in Table N1101 exceeds R-30.

N1102   MOISTURE CONTROL  In all framed walls, floors and roof/ceilings comprising elements of the building thermal envelope, an approved vapor retarder having a maximum rating of 1.0 perm shall be installed on the warm-in-winter side of the insulation.

Exception:

1. Where the insulated cavity of space is ventilated to allow moisture to escape.

2. In hot and humid climate areas as shown in Appendix A.

N1103  AIR INFILTRATION  The building envelope shall be designed and constructed to limit air infiltration to the conditioned area of the dwelling. All elements comprising the building thermal envelope, including all exterior joints, seams, or penetrations, shall be caulked, gasketed, taped or covered with moisture vapor permeable sheathing paper or house wrap on the exterior.  All windows and doors installed in the building thermal envelope shall be weatherstripped, gasketed, or caulked.

N1104  HVAC SYSTEMS

N1104-1  HVAC AND WATER HEATING APPLIANCES  HVAC and service water heating appliances shall be labeled as complying with minimum efficiency requirements specified by the National Appliance Energy Conservation Act of 1987 and regulations adopted thereunder by the U. S. Department of Energy.

N1104-2  CONTROLS  Each heating, cooling, or combination heating and cooling system shall be provided with at least one adjustable thermostat for the regulation of temperature.

N1104-3  AIR HANDLING DUCT SYSTEM

N1104-3.1  DUCT SEALING – All supply and return ducts located outside the building thermal envelope shall have joints sealed with gaskets, mastics, tapes installed in accordance with the manufacturers instructions, or by other approved methods.

N1104-3.2  DUCT INSULATION – Minimum required duct insulation for all supply and return ducts located in unconditioned space shall be R-5 in all climatic zones.

N1104-4  HEATING AND COOLING PIPING INSULATION  All HVAC system piping carrying fluids with a temperature less than 55°F or greater than 120°F shall have minimum insulation thickness of ½ inch.

N1105   ALTERNATIVE COMPLIANCE

N1105-1  HEAT GAIN/HEAT LOSS CALCULATIONS  Alternative compliance with the requirements of Table N1101 shall be permitted to be determined through a heat gain or heat loss calculation as follows:  the required R-value or U-value of an element in the building thermal envelope in Table N1101 may be increased or decreased, provided the total heat gain or loss for the entire building does not exceed the total resulting from conformance to the values specified in Table N1101.

N1105-2   SYSTEMS ANALYSIS  Alternative compliance with the requirements of this chapter shall be permitted to be determined through the use of a systems analysis using a standard design in accordance with Table N1101, and Section N1104.  A proposed design complies with this chapter if it has a projected annual energy use for heating, cooling and service water heating not greater than the energy use of the standard design, calculated in accordance with accepted engineering practices.  Energy use for both homes shall be calculated based on the same assumptions and building location.  The standard design shall have the same floor area, envelope component areas, building orientation, glazing orientation, door areas, and building geometry as the proposed design.

4.1.8.  ICC/ANSI A1.1 Standards for Accessibility & Usable Buildings & Facilities, First Edition, 1998.

4.1.9.  International Existing Building Code, 2003, with the following exception:

Omit reference to International Fire Code and substitute NFPA Life Safety Code 2000 Edition.

§87-4-5.

The following structures are not subject to inspection by local jurisdictions:  Group U utility structures and storage sheds comprising an area not more than 150 sq. ft. which have no plumbing or electrical connections and are used only for residential storage purposes.  (Examples include sheds that are for the residential storage of lawnmowers, tools, bicycles or furniture.) Not included are those utility structures and storage sheds which have plumbing or electrical connections are a non-residential use or for the  storage of explosives or other hazardous or explosive materials.

§87-4-6.

A copy of the codes listed in Subsection 4.1 of this rule have been filed with the Secretary of State.  These code books, collectively or separately, may be obtained by contacting the Building Officials & Code Administrators International, 4051 West Flossmoor Road, Country Club Hills, Illinois 60477-5795, telephone 708/799-2300; or BOCA Mid-East Regional Office, 1245 South Sunbury Road, Suite 100, Westerville, OH 43081-9308, telephone (614) 890-1064.

§87-4-7.  Adoption by local Jurisdiction..

7.1.  Each local jurisdiction adopting the State Building Code shall notify the State Fire Commission in writing.  The local jurisdiction shall send a copy of the ordinance or order to the State Fire Marshal, West Virginia State Fire Commission, 1207 Quarrier Street, 2nd floor, Charleston, West Virginia 25301, within thirty (30) days of adoption.

7.2.  Each local jurisdiction which adopts the State Building Code is responsible for the enforcement of the building code as provided in West Virginia Code 7-1-3n and 8-12-13.

7.3.  Throughout the national codes, adopted in subsection 4.1 of this rule, there are discretionary provisions which require further action by the adopting local jurisdiction in order to adapt these codes to various local conditions.  It is therefore the intent of this rule to further authorize each local jurisdiction to further complete, by order or ordnance, those respective areas which are indicated to be completed by the adopting “jurisdiction”.

7.4.  Within the penalty sections of each of the national codes, adopted in Section 4.1 of this rule, there is a penalty for imprisonment.  The provision of imprisonment for any violation of this rule is optional with each adopting local jurisdiction.

7.5.  Each of the national codes, adopted in subsection 4.1 of this rule, provides for a separate appeals board.  However, the intent and requirements for an appeal board may be met with the creation by the local jurisdiction of a single appeals board for the entire “State Building Code.”

§87-4-8.  Existing Building Codes.

8.1.  All building codes which have been adopted by local jurisdictions prior to the passage of West Virginia Code 29-3-5b, in 1988, are null and void.